## DSDM_OrderCode_Remote
[5 empty] | DS/DM Remote unit switchbox Order code | [10 empty] | rev 15
Explosion proof / Flame proof
A= | Product & Connections (cable entry)
| DS | Explosion proof / Flame proof switchbox with 3/4" NPT cable entries
| DM | Explosion proof / Flame proof switchbox with M25x1,5 cable entries
B= | Number of open cable entries
| 2 | 2x open cable entries (option)
| 3 | 3x open cable entries (standard)
C= | Housing material / Surface treatment
| B | Aluminium housing, polyester powdercoating, Black base & cover
| W | Aluminium housing, polyester powdercoating, Black base & White cover
| C | Aluminium housing, polyester powdercoating, Black base & Optional cover color
D= | Shaft
| D | Double 'D' Shaft 1/4"
| N | Namur VDI/VDE 3845 Shaft (rotary actuators)
| T | For NAF Turnex actuators
| L | D style incl. nut for linear applications
| Q | 1/2"x1/2" sqare
E= | Indicator option
| 0 | Flat top cover, no indicator
| U | Standard Ultradome (Green / Red)
| 3 | Four Window Ultradome
| C | 90' 3-Way Ultradome
| D | 180' 3-Way Ultradome
| E | 180' 3-Way Center Blocked Ultradome
| F | 120' Thru / Divert Ultradome
| H | Black / Yellow Ultradome
| K | Green / Red with Ektar Ultradome
| R | Reverse - Red = Open / Green = Close Ultradome
F= | Qty of switches
| 0 | 0 switches (Cam assembly for 2 x M1 only)
| 2 | 2 switches
G= | Switch options
| M1 | SPDT Mechanical switches 250VAC 10A SIL3 Capable
| MG | SPDT Mechanical - Gold Contacts SIL3 Capable
| MK | SPDT Mechanical switches 250VAC 10A (-55°C) SIL3 Capable
| P4 | SPST Proximity SIL3 Capable
| P5 | SPDT Proximity SIL3 Capable
| N8 | NJ2 V3 N (NAMUR) SIL3 Capable
| N9 | P&F NBB3-V3-Z4 (Only H = 18, 19,25)
| FL | IFM IS5026, 2 wire 5-36 DC PNP/NPN, 4-200mA NO / NC (H=14 only)
H= | Certificate
| 14 | General Purpose
| 15 | II 1 GD ATEX Ex ia IIC Ga / Ex ia IIIC Da IP66
| 18 | { | (EXP) cCSA; Class I, Division 1, Groups B,C,D; Class II, Division 1, Groups E,F,G; Class III; T4
(EXP) CSAus; Class I, Division 1, Groups A,B,C,D; Class II, Division 1, Groups E,F,G; Class III; T4
| 19 | ATEX II 2 GD Ex d IIC Gb, Ex tb IIIC Db IP66
| 21 | IEC Ex ia
| 25 | IEC Ex d IIC Gb, Ex tb IIIC Db IP66
| 27 | cCSAus IS Class I, Division 1, Groups A,B,C and D; Cl. II, Gps E, F and G; Cl. III;
| 28 | cCSAus NI Class I, Division 2, Groups A,B,C and D; Cl. II, Gps E, F and G; Cl. III;
| 38 | Nepsi (CCC) Exd
| 43 | Nepsi (CCC) Ex ia
I= | Product approval marking
| 0 | Self-adhesive marking label, Polyester
| M | Stainless Steel marking plate
J= | Analog Output
| R | Remote unit
K = | Terminal Options
| 0 | No options
L = | Options / Elastomers
| 0 | Nitrile O-rings (Standard)
| V | Viton O-rings
M = | Brand
| X | Automax
| P | PMV
| V | Valtek
| W | Worcester
Example
| A | B | C | D | E | F | G |  | H |  | I | J | K | L | M
| DS | 3 | B | N | U | 0 | M1 | - | 18 | - | 0 | R | 0 | 0 | P

## Rev_Log
Rev | 15 | Description | Update
|  | cable entry | Added M25x1,5 cable entries
|  | No.of cable entry | Added 2x open cable entries (option)
|  | Shaft | Added Q 1/2"x1/2" sqare
|  | Certificate | Updated info for Cert.15
Updated info for Cert.18
Updated info for Cert.19
Updated info for Cert.25
Added Nepsi (CCC) Exd
Added Nepsi (CCC) Exia
Removed TR-CU Cert.