## Cert.Matrix Light
Product | Directives | Protection | NI (nonincendive US) | Certificate # | Marking | Standard | Applicant | Not. body | Release Date | Expiry Date | Ingress Protection | NEMA
DS/DM | ATEX | Exp. Proof | - | Presafe 18 ATEX 12921X (0) | II 2 G Ex db IIC T5 Gb -40°C≤Ta≤ +85°C II 2 D Ex tb IIIC T94°C Db IP66 -30°C≤Ta≤+70°C | EN 60079-0:2012/A11:2013 EN 60079-1:2014, EN 60079-31:2014 | PMV Automation | Presafe | 2018-11-19 | n/a | 66 | 4X
DS/DM | ATEX | Intr. Safe | - | Presafe 18 ATEX 12921X (0) | II 1 G Ex ia IIC T4 Ga II 1 D Ex ia IIIC T135°C Da IP66 | EN 60079-0:2012/A11:2013 EN 60079-11:2012 | PMV Automation | Presafe | 2018-11-19 | n/a | 66 | 4X
DS/DM | IECEx | Exp. Proof | - | IECEx PRE 18.0076X (0) | Ex db IIC T5 Gb -40°C≤Ta≤ +85°C Ex tb IIIC T94°C Db IP66 -30°C≤Ta≤+70°C | IEC 60079-0:2011 IEC 60079-1:2014-06 IEC 60079-31:2013 | PMV Automation | Presafe | 2018-11-19 | n/a | 66 | 4X
DS/DM | IECEx | Intr. Safe | - | IECEx PRE 18.0076X (0) | Ex ia IIC T4 Ga Ex ia IIIC T135°C Da IP66 | IEC 60079-0:2011 IEC 60079-11:2011 | PMV Automation | Presafe | 2018-11-19 | n/a | 66 | 4X
WS/WM | ATEX | Intr. Safe | - | DNV 25 ATEX 35530X | II 1G Ex ia IIB T4/T5/T6 Ga II 1G Ex ia IIC T4/T5/T6 Ga II 1D Ex ia IIIC T20085°C Da | EN IEC 60079-0:2018 EN 60079-11: 2012 | PMV Automation | DNV | 2025-06-23 | n/a | 66/67 | 4X/6
WS/WM | IECEx | Intr. Safe | - | DNV 25.0045X (0) | Ex ia IIB T4/T5/T6 Ga Ex ia IIC T4/T5/T6 Ga Ex ia IIIC T20085°C Da | IEC 60079-0:2017 IEC 60079-11:2011 | PMV Automation | DNV | 2025-06-23 | n/a | 66/67 | 4X/6
PS/PM | ATEX | Intr. Safe | - | Nemko 11ATEX1065X (3) | II 1G Ex ia IIB T4/T5/T6 II 1G Ex ia IIC T4/T5/T6 | CENELEC EN 60079-0:2009 CENELEC EN 60079-11:2007 | Palmstierna | NEMKO | 2013-06-11 | n/a | 66 | 4X
mb switch black | ATEX | mb | - | DNV 23 ATEX 01347U | II 2 G Ex mb IIC Gb | EN IEC 60079:0:2018, EN 60079-18:2015 | PMV Automation AB | DNV | 2023-09-06 | n/a | NA | NA
PSPM (xxxxxxxPP-22-xxxx, xxxxxxxPT-22-xxxx) | ATEX | mb | - | DNV 24 ATEX 76931X | Ex eb mb IIC T5 (T6) Gb | EN IEC 60079:0:2018, EN IEC 60079-7:2015/+A1:2018, and 60079-18:2015 | PMV Automation AB | DNV | 2024-02-26 | n/a | 66 | 4X
PS/PM | IECEx | Intr. Safe | - | DNV 25.0003X (0) | Ex ia IIC T4/T5/T6 | IEC 60079-0:2007-10 IEC 60079-11:2006 | Palmstierna | DNV | 2011-11-01 | n/a | 66 | 4X
F5-Exd | ATEX | Exp. Proof | - | DNV 20 ATEX 42333X (0) | II 2 G Ex db IIB+H2 T6 or T5 Gb | EN IEC 60079-0:2018 EN 60079-1:2014 | PMV Automation | DNV_PA | 2022-09-23 | n/a | 66/67 | 4X/6
F5-Exd | IECex | Exp. Proof | - | IECEx DNV 21.0005X (0) | II 2 G Ex db IIB+H2 T6 or T5 Gb | IEC 60079-0:2017 IEC 60079-1:2014 | PMV Automation | DNV_PA | 2022-09-21 | n/a | 66/67 | 4X/6
F5-IS | ATEX | Intr. Safe | - | DNV 20 ATEX 42348X (0) | II 1 G Ex ia IIC T4 Ga -40°C <=Ta<=+80°C | EN 60079-0:2018 EN 60079-11:2012 | PMV Automation | DNV_PA | 2022-10-07 | n/a | 66/67 | 4X/6
F5-IS | IECEx | Intr. Safe | - | IECEx DNV 21.0024X (0) | Ex ia IIC T4 Ga | IEC 60079-0:2017 IEC 60079-11:2011 | PMV Automation | DNV_PA | 2022-10-10 | n/a | 66/67 | 4X/6
XCL | ATEX | Exp. Proof | - | Sira 06ATEX3392X (6) | II 2 GD Ex d IIB T5 Ex tD A21 IP66/67 | EN 60079-0: 2004, EN 60079-1: 2004 EN 61241-0: 2006, EN 61241-1: 2004 | Palmstierna | CSA | 2015-06-03 | n/a | 66/67 | 4X/6
XCL | IECEx | Exp. Proof | - | IECEx SIR 06.0007X (6) | Ex d IIB T5 Ex tD A21 | IEC 60079-0:2004, IEC 60079-1:2003 IEC 61241-0:2004, IEC 61241-1:2004 | PMV Automation | CSA | 2018-06-22 | n/a | 66/67 | 4X/6
Aviator II | ATEX | Exp. Proof | - | Sira 19ATEX1299X (1) | II 2G Ex db IIB T3/T4 Gb Ta = -20°C to +40°C T4 Ta = -20°C to +60°C T3 | EN IEC 60079-0:2018 EN 60079-1:2014 A/C:2018 | PMV Automation | CSA | 2020-11-18 | n/a | 65 | 4
Aviator II | IECEx | Exp. Proof | - | IECEx SIR 20.0030X (0) | Ex db IIB T4/T3 Gb Ta = -20°C to +40°C T4 Ta = -20°C to +60°C T3 | IEC 60079-0:2017 IEC 60079-1:2014-06 | PMV Automation | CSA | 2020-09-25 | n/a | 65 | 4
D30/New D20I | ATEX | Intr. Safe | - | Presafe 17 ATEX 11142X (1) | II 1G Ex ia IIC T4 Ga -40°C ≤ Ta ≤ + 85°C | EN IEC 60079-0:2018 EN 60079-11: 2012 | PMV Automation | Presafe | 2020-02-28 | n/a | 66 | 4X
D30/New D20I | IECEx | Intr. Safe | - | IECEx PRE 17.0046X_001 | Ex ia IIC T4 Ga -40°C ≤ Ta ≤ + 85°C | IEC 60079-0:2017 IEC 60079-11:2011 | PMV Automation | Presafe | 2020-05-28 | n/a | 66 | 4X
D20I | ATEX | Intr. Safe | - | Nemko 08ATEX1362X | II 1G Ex ia IIC T4 Ta:85⁰C | CENELEC EN 60079-0: 2006 CENELEC EN 60079-11: 2007 CENELEC EN 60079-26: 2004 | Palmstierna | NEMKO | 2008-12-12 | n/a | 66/67 | 4X/6
D3E/D20E/APEX 9000E | ATEX | Exp. Proof | - | Presafe 17 ATEX 11598X (0) | II 2 G Ex db IIB+H2 T6, -20⁰C ≤ Ta ≤+60⁰C II 2 D Ex tb IIIC T100⁰C, -20⁰C≤ Ta ≤+80⁰C | EN 60079-0:2012/A11:2013 EN 60079-1:2014, EN 60079-31:2014 | PMV Automation | Presafe | 2018-02-07 | n/a | 66 | 4X
D3E/D20E/APEX 9000E | IECEx | Exp. Proof | - | IECEx PRE 17.0072X (0) | Ex db IIB+H2 T6, -20⁰C ≤ Ta ≤+60⁰C Ex tb IIIC T100⁰C, -20⁰C≤ Ta ≤+80⁰C | EN 60079-0:2011 EN 60079-1:2014-06 EN 60079-31:2013 | PMV Automation | Presafe | 2018-02-14 | n/a | 66 | 4X
D3I | ATEX | Intr. Safe | - | Nemko 03ATEX 110X (7) | Ex ia IIC T4 Ga Ta:80C Ex ia IIC T4 Ga Ta:80C FISCO Field Device | EN 60079-0:2009 EN 60079:11:2007 EN 60079-26:2007 | Palmstierna | NEMKO | 2014-03-21 | n/a | 66 | 4X
PT31 | ATEX | Intr. Safe | - | Nemko 08ATEX1144X (1) | Ex II 2G Ex ia IIC T6/T5/T4 | CENELEC EN 60079-0: 2009 CENELEC EN 60079-11:2007 | Palmstierna | NEMKO | 2011-11-09 | n/a | NA | NA
PT31 | IECEx | Intr. Safe | - | IECEx NEM 09.0007X (2) | Ex ia IIC T6/T5/T4 Gb | IEC 60079-0 : 2007-10 IEC 60079-11 : 2006 | Palmstierna | NEMKO | 2012-03-30 | n/a | NA | NA
PT32 | ATEX | Exp. Proof | - | Nemko 08ATEX1031 | II 2G Ex d IIB + H2 T6; Ta:60⁰C II 2D Ex tD 21 T61⁰C | EN 60079-0:2004, EN 60079-1:2004 EN 61241-0:2006, EN 61241-1:2004 | Palmstierna | NEMKO | 2008-07-18 | n/a | 66 | 4X
PT32 | IECEx | Exp. Proof | - | IECEx NEM 09.0022 (0) | Ex d IIB+H2 T6; Ta=60⁰C Ex tD 21 T61⁰C | IEC 60079-0:2004, IEC 60079-1:2003 IEC 61241-0:2004, IEC 61241-1:2004 | Palmstierna | NEMKO | 2010-01-26 | n/a | 66 | 4X
P5 | ATEX | other | - | Presafe 18ATEX13312X (1) | II 1 G II 1 D Ex h IIC T5/T6 Ga Ex h IIIC T100℃/T85℃ Da IP 66 | EN 60079-0:2012 ISO 80079-36:2016. | PMV Automation AB | Presafe | 2019-04-08 | n/a | 66 | 4
XCL | InMetro | Exp. Proof | - | DNV 12.0059 X (6) | Ex d IIB T5 Gb Ex tb IIIC T100 ºC Db -20 ºC ≤ Ta ≤ +55 ºC | ABNT NBR IEC 60079-0:2013 ABNT NBR IEC 60079-1:2009 ABNT NBR IEC 60079-31:2011 | PMV Automation AB | DNV_GL | 2021-05-31 | 2027-05-31 | 66/67 | 4X/6
XCL | Inmetro | Exp. Proof | - | DNV 12.0079 X (0) | Ex d IIB T5 Gb Ex tb IIIC T100 ºC Db -20 ºC ≤ Ta ≤ +55 ºC | ABNT NBR IEC 60079-0:2013 ABNT NBR IEC 60079-1:2009 ABNT NBR IEC 60079-31:2011 | PMV Automation AB | DNV_GL | 2021-05-31 | 2027-05-31 | 66/67 | 4X/6
Aviator II | Inmetro | Exp. Proof | - | DNV 12.0078 - (0) | Ex d IIB T3 Gb Ex d IIB T4 Gb T3: -20 ºC ≤ Ta ≤ +60 ºC T4: -20 ºC ≤ Ta ≤ +40 ºC | ABNT NBR IEC 60079-0:2013, ABNT NBR IEC 60079-1:2009 | PMV Automation AB | DNV_GL | 2024-05-31 | 2030-05-31 | 65 | 4
Aviator II | InMetro | Exp. Proof | - | DNV 12.0058 - (4) | Ex d IIB T3 Gb Ex d IIB T4 Gb T3: -20 ºC ≤ Ta ≤ +60 ºC T4: -20 ºC ≤ Ta ≤ +40 ºC | ABNT NBR IEC 60079-0:2013, ABNT NBR IEC 60079-1:2009 | PMV Automation AB | DNV_GL | 2021-05-31 | 2027-05-31 | 65 | 4
D3E/D20E/APEX 9000E | InMetro | Exp. Proof | - | DNV 12.0057 X (6) | Ex d IIB+H2 T6 Gb Ex tb IIIC T100 ºC Db | ABNT NBR IEC 60079-0:2013 ABNT NBR IEC 60079-1:2016 ABNT NBR IEC 60079-31:2014 | PMV Automation AB | DNV_GL | 2021-07-10 | 2027-07-10 | 66 | 4X
D30/New D20I | InMetro | Intr. Safe | - | DNV 18.0189 X/01 (3) | Ex ia IIC T4 Ga -40 ºC ≤ Ta ≤ +85 ºC IP66 | ABNT NBR IEC 60079-0:2020 Versao Corrigida 2024 ABNT NBR IEC 60079-11:2013 Versao Corrigida 2017 | PMV Automation AB | DNV_GL | 2022-02-05 | 2028-02-05 | 66 | 4X
D3I | InMetro | Intr. Safe | - | DNV 12.0056 X (4) | Ex ia IIC T4 Ga -30 ºC ≤ Ta ≤ +80 ºC -30 ºC ≤ Ta ≤ +120 ºC | ABNT NBR IEC 60079-0:2013 ABNT NBR IEC 60079-11:2009 ABNT NBR IEC 60079-26:2008 | PMV Automation AB | DNV_GL | 2020-10-07 | 2026-10-07 | 66 | 4X
DS/DM | CSA | IS | NI | 70014336 | Class-C225802 Class I, Division 1, Group B,C,D; Class II, Division 1, Group E,F,G; Class III T4 Encl. Type 4X Class-C225882-US standards Class I, Division 1, Group A,B,C,D; Class II, Division 1, Group E,F,G; Class III T4 Encl. Type 4X Class-C2258 03 Class I, Division 2, Group A,B,C,D; Class II, Group E,F,G; Class III Encl. Type 4X Class-2258 83-US standards Class I, Division 2, Group A,B,C,D; Class II, Group E,F,G; Class III Encl. Type 4X | C22.2 No. 0-M91 C22.2 No 61010-1-12 UL 61010-1-12 (3rd Edition C22.2 No. 25-1996 C22.2 No.30-M/1986 C22.2 N0. 213-17 C22.2 No.157.92 FM 3610:2010 FM 3611:2004 FM3616:2011 FM 3615:2006 CAN/CSA-C22.2 No. 60529:05 CSA C22.2 No 94.2-07/UL50E | PMV Automation AB | CSA Group | 2019-03-14 | 2025-10-01 | 66 | 4X
XCL/XML | CSA | IS |  | 2500804 | Class I, Division 1, Group A, B,C,D; Class II, Division 1, Group E,F,G; Class III T5 Encl. Type 4X | C22.2 No. 0-M91 C22.2 No 61010-1 C22.2 No.157-M1992 C22.2 No. 25 FM - 3600 Std. FM - 3610 Std. FM - 3810 Std. | Palmstierna | CSA Group | 2013-01-31 | 2025-10-01 | 66/67 | 4X/6
PS/PM | CSA | IS | NI | 2461403 | Class I, Division 1, Group A, B,C,D; Class II, Division 1, Group E,F,G; Class III T4/T5 Encl. Type 4X | C22.2 No. 0-M91 C22.2 No.157-M1992 C22.2 No. 25 C22.2 N0. 213-M1987 C22.2 No. 60529-05 C22.2 No. 94 C22.2 No. 142 FM - 3600 Std. FM - 3610 Std. FM - 3810 Std. FM - 3611 Std. | Palmstierna | CSA Group | 2015-04-01 | 2025-10-01 | 66 | 4X
WS/WM | CSA |  | NI | 2593521 | Class 2258 84, Class 2258 04 Class I, Division 1, Group A, B,C,D; Class II, Division 1, Group F,G; Class III T3 Encl. Type 4X Class 2258 02, Class2258 82 Class I, Division 2, Group A, B,C,D; Class II, Division 2, Group F,G; Class III T3 Encl. Type 4X | C22.2 No. 0-M91 C22.2 No.0.4-04 C22.2 No 142-M1987 C22.2 No. 25-1966 C22.2 No. 60529-05 C22.2 No.94-M91 C22.2 No. 157-M1992 C22.2 No. 213-M1987 FM - 3600 Std. FM - 3610 Std. FM - 3810 Std. FM - 3611 Std. | Palmstierna | CSA Group | 2013-07-16 | 2025-10-01 | 66/67 | 4X/6
PT31 | CSA |  |  | 2247854 (LR 69005) | Class I, Division 1, Group A, B,C,D; Temperature code according to tabel in certificate IP65 | C22.2 No 0-10 C22.2 No. 157-1992 C22.2 No. 61010-1-14 | Palmstierna | CSA Group | 2025-04-03 | NA | NA | NA
XCL/XML | CSA | Exp. Proof | NI | 1192741 | Class I, Division 1/2, Group C,D; Class II, Division 1/2, Group E,F,G; Class III T3 Encl. Type 4X IP67 | C22.2 No. 0-M91 C22.2 No.0.4-04 C22.2 No 14-2005 C22.2 No. 25-1966 C22.2 No.30-M1986 C22.2 No.94-M91 C22.2 N0. 213-M1987 C22.2 No. 60529-05 C22.2 No. 0.5-1982 UL508 UL 1203 UL 50 ANSI/ISA - 12.12.01-2011 | Palmstierna | CSA Group | 2015-05-12 | NA | 66/67 | 4X/6
F5-Exd | CSA |  | - | 70007145(LR 69005-12) | Class I, Group B,C,D; Class II, Group E,F,G; Class III T6 (amb +50C max) T5 (amb +60C max), T4 (amb +80 max) Encl. Type 4X | C22.2 No 25-1966 C22.2 No 30-M1986 C22.2 No. 94-M91 C22.2 No 142-M1987 | PMV Automation AB | CSA Group | 2018-12-21 | NA | 66/67 | 4X/6
PT32 | CSA |  |  | 2272316 | Class I, Division 1, Group A, B,C,D; Class II, Division 1, Group E,F,G; Class III T6 Encl. Type 4X | C22.2 No. 0-M91 C22.2 No.0.5-1982 C22.2 No. 25-1966 C22.2 No. 30-M1986 C22.2 No. 142-M1987 C22.2 No.94-M91 C22.2 No. 60529-05 | Palmstierna | CSA Group | 2011-10-05 | NA | 66 | 4X
D3E | CSA |  |  | 1278854 | Class I, Division 1,Group C,D; Class II, Division 1, Group E,F,G; Class III, Division 1 T6 (amb +65C max) T5 (amb +80C max) Encl. Type 4X | C22.2 No. 0-M91 C22.2 No. 25-1966 C22.2 No. 30-M1986 C22.2 No.94-M91 C22.2 No. 61010-1-12 (Amd 1:2018) | PMV Automation AB | CSA Group | 2021-09-27 | NA | 66 | 4X
D30/New D20I | CSA | Intr. Safe |  | FM18CA0082X | IS, Class I Division 1, Groups A, B, C, D; T4 Ta = -40°C to +85°C* Ex ia IIC T4 Ga Ta = -40°C to +85°C* Class 1, Division 2, Groups A, B, C, D; T4 Ta = -40°C to +85°C* | CSA C22.2 No. 213:2017, CAN / CAN/CSA-C22.2 No. 60079-0:2019, CAN/CSA-C22.2 No. 60079-11:2014, CAN/CSA C22.2 No. 61010-1:2015 | PMV Automation AB | FM Approvals | 2022-05-06 | NA | 66 | 4X
PS/PM | CSA | Intr. Safe |  | 3047442C | Intrinsically Safe for Class I,II and III, Division 1, Groups A, B, C, D, E, F and G; Nonincendive with Nonincendive Field Wiring for Class I, Division 2, Groups A, B, C and D hazardous locations per Control Drawing RA-2. Temperature Class T4, T5 or T6, see Control Drawing RA-2 for details. Dust Ignition Proof for Class II, Division 2 Groups E, F and G; Dust Ignition Proof for Class III, Division 1 and 2, Indoor and Outdoor (Type 4X and IP66) Hazardous locations. Temperature Class T6. | CAN-C22.2 No. 157-92 2006 CAN-C22.2 No. 213-M1987 2008 CSA-C22.2 No. 25 2004 CAN/CSA-C22.2 No. 61010-1 2009 CSA-C22.2 No. 94-M91 2011 CAN/CSA-C22.2 No. 60529 2010 | Palmstierna | FM Approvals | 2013-09-24 | NA | 66 | 4X
Aviator II | CSA and FM |  | NI | 1902001 | Class I, Division 1, Group C,D; Class I, Division 2, Group A,B,C,D; Class I, Zone 1 Group IIB Ex d IIB T3/T4 IP65 AEx d IIB T3/T4 IP65 | C22.2 No. 0-M91 C22.2 No.0.4-04 C22.2 No 14-2005 C22.2 No. 25-1966 C22.2 No. 30-1986 C22.2 No.94-M91 C22.2 No. 213-M1987 C22.2 No. 139-10 C22.2 No 60079-0:07 C22.2 No. 60079-1:02 UL 508 17th ed UL 698 13th ed FM 3615:2006 UL 426 5th ed (As a Guide) UL 50 11th ed UL 1604 3rd ed UL 1203 4th ed UL 60079-0 4th ed UL 60079-1 5th ed | Palmstierna | CSA Group | 2012-01-19 | NA | 65 | 4
D30/New D20I | FM | Intr. Safe |  | FM18US0180X | IS, Class I Division 1, Groups A, B, C, D; T4 Ta = -40°C to +85°C* Class I, Zone 0, AEx ia IIC T4 Ga Ta = -40°C to +85°C* Class 1, Division 2, Groups A, B, C, D; T4 Ta = -40°C to +85°C* Class I, Zone 2, IIC T4 Ta = -40°C to +85°C* | FM Class 3600:2022, FM Class 3610:2021, FM Class 3611:2021, FM Class 3810:2021, ANSI / UL 61010-1:2015, ANSI / UL 60079-0:2020, ANSI / ISA 60079-11:2018 | PMV Automation AB | FM Approvals | 2022-05-06 | NA | 66 | 4X
PT31 | FM | Intr. Safe |  | 3037663 | IS, Class I Division 1, Groups A, B, C, D; T6/T5/T4 (Tempcode see cerificate) | FM Class 3600:1998, FM Class 3610:2007, FM Class 3810:2005, | Palmstierna | FM Approvals | 2010-02-18 | NA | NA | NA
PT32 | FM | Exp. Proof |  | 3032413 | Exp.proof, Class I Division 1, Groups B, C, D; T6 Ta = 65°C Encl. Type 4X IP66 Dust Ignitionproof, Class II/III Division 1, Groups E, F, G; T6 Ta = 65°C Encl. Type 4X IP66 | FM Class 3600:1998, FM Class 3615:2006, FM Class 3810:2005, ANSI / EC 60529:2004, ANSI / NEMA 250:1991 | Palmstierna | FM Approvals | 2009-08-31 | NA | 66 | 4X
PS/PM | FM | Intr. Safe |  | 3043047 | Intrinsically Safe for Class I,II and III, Division 1, Groups A, B, C, D, E, F and G; Nonincendive for Class I, Division 2, Groups A, B, C and D Temperature Class T4, T5 or T6. See Control Drawing RA-2 for details. Suitable for Class II, Division 2 Groups E, F and G; Suitable for Class III, Division 1 and 2 (Type 4X and IP66) Temperature Class T6 | Class 3600:2011 Class 3610:2010 Class 3611:2004 Class 3810:2005 ISA-82.02.01:2004 ANSI/IEC 60529:2004 NEMA 250:2003 | Palmstierna | FM Approvals | 2013-09-24 | NA | 66 | 4X
D3E/D20E/APEX 9000E | FM | Exp. Proof |  | FM20US0097 | Class I Division 1, Groups C, D; T6 Ta =+65°C, T5 Ta=+80°C; Type 4X Class II, Division 1, Groups E, F, G; T6 Ta =+65°C, T5 Ta=+80°C; Type 4X | FM Class 3600:2018, FM Class 3615:2018, FM Class 3810:2005, ANSI/UL 61010-1:2004, ANSI/NEMA 250:1991 | PMV Automation AB | FM Approvals | 2020-11-30 | NA | 66 | 4X
F5-Exd | FM | Exp. Proof |  | J.I 3002894 (3615) | Class I, Division 1, Group B, C and D Class II, Division 1, Group E, F and G Encl. Type 4X: | FM 3600:1998, FM 3615:1989, FMRC 3810:1989, ANSI/NEMA-250:1991 | Palmstierna | CSA Group | 1999-02-01 | NA | 66/67 | 4X/6
D30/New D20I | CCC | Intr. Safe | - | 2020322307002890 |  | GB/T 3836.1-2021, GB/T 3836.4-2021 | PMV Automation AB | Sitiias | 2023-04-30 | 2025-10-15 | 66 | 4X
D30/New D20I | CCC | Intr. Safe | - | 2020322307002891 |  | GB/T 3836.1-2021, GB/T 3836.4-2021 | PMV Automation AB | Sitiias | 2023-04-30 | 2025-10-15 | 66 | 4X
D30/New D20I | CCC | Intr. Safe | - | 2020322307002885 |  | GB/T 3836.1-2021, GB/T 3836.4-2021 | PMV Automation AB | Sitiias | 2023-04-30 | 2025-10-15 | 66 | 4X
XCL/XML | CCC | Exp. Proof | - | 2021322304003769 | Ex db IIB T5 Gb, Ex tb IIIB T100ºC Db | GB/T 3836.1-2021, GB/T 3836.2-2021, GB/T 3836.31-2021 | PMV Automation AB | Sitiias | 2023-04-23 | 2026-03-02 | 66/67 | 4X/6
EP5IN | CCC | Intr. Safe | - | 2022322307004636 |  | GB/T 3836.1-2021, GB/T 3836.4-2021 | PMV Automation AB | Sitiias | 2023-04-30 | 2026-07-22 | 66 | 4
EP5IN | CCC | Intr. Safe | - | 2021322307004162 | see Certificate | GB/T 3836.1-2021, GB/T 3836.4-2021 | PMV Automation AB | Sitiias | 2023-04-21 | 2026-07-22 | 66 | 4
WS/WM | CCC | Intr. Safe | - | 2021322304004178 |  | GB/T 3836.1-2021, GB/T 3836.4-2021 | PMV Automation AB | Sitiias | 2023-04-29 | 2026-08-03 | 66/67 | 4X/6
WS/WM | CCC | Intr. Safe | - | 2022322304004639 |  | GB/T 3836.1-2021, GB/T 3836.4-2021 | PMV Automation AB | Sitiias | 2023-04-30 | 2026-08-03 | 66/67 | 4X/6
D3E/D20E/APEX 9000E | CCC | Exp. Proof | - | 2020322307003286 |  | GB/T 3836.1-2021, GB/T 3836. 2-2021, GB/T 3836.31-2021 | PMV Automation AB | Sitiias | 2023-04-21 | 2025-11-19 | 66 | 4X
D3E/D20E/APEX 9000E | CCC | Exp. Proof | - | 2024322307005975 |  | GB/T 3836.1-2021, GB/T 3836. 2-2021, GB/T 3836.31-2021 | PMV Automation AB | Sitiias | 2024-05-23 | 2029-05-22 | 66 | 4X
DS/DM | CCC | Intr. Safe | - | 2020322304003491 | Ex ia IIC T4 Ga, Ex ia IIIC T200 135ºC Da | GB/T 3836.1-2021, GB/T 3836.4-2021 | PMV Automation AB | Sitiias | 2023-04-21 | 2025-11-19 | 66 | 4X
DS/DM | CCC | Exp. Proof | - | 2020322304003449 | Ex tb IIIc T94 ºC Db | GB/T 3836.1-2021, GB/T 3836.2-2021, GB/T 3836.31-2021 | PMV Automation AB | Sitiias | 2023-04-21 | 2025-12-10 | 66 | 4X
DS/DM | CCC | Exp. Proof | - | 2022322304004634 |  | GB/T 3836.1-2021, GB/T 3836.2-2021 | PMV Automation AB | Sitiias | 2023-07-12 | 2025-12-02 | 66 | 4X
DS/DM | CCC | Intr. Safe | - | 2022322304004635 |  | GB/T 3836.1-2021, GB/T 3836.4-2021 | PMV Automation AB | Sitiias | 2023-07-12 | 2025-12-10 | 66 | 4X
New D20I | SIL |  | - | FLO 2209117 C001 |  | IEC 61508:2010 Parts 1-2 | PMV Automation AB | exida | 2025-05-30 | 2028-11-01 | 66 | 4X
D30 | SIL |  | - | FLO 1810095 C001 |  | IEC 61508:2010 Parts 1-2 | PMV Automation AB | exida | 2025-05-30 | 2028-11-01 | 66 | 4X
DS/DM | SIL |  | - | FLO 1905142 C002 |  | IEC 61508:2010 Parts 1-2 | PMV Automation AB | exida | 2025-05-30 | 2028-11-01 | 66 | 4X
XCL | SIL |  | - | FLO 1905142 C004 |  | IEC 61508:2010 Parts 1-2 | PMV Automation AB | exida | 2025-05-30 | 2028-11-01 | 66/67 | 4X/6
PS/PM | SIL |  | - | FLO 1905142 C001 |  | IEC 61508:2010 Parts 1-2 | PMV Automation AB | exida | 2025-05-30 | 2028-11-01 | 66 | 4X
WS/WM | SIL |  | - | FLO 1905142 C003 |  | IEC 61508:2010 Parts 1-2 | PMV Automation AB | exida | 2025-05-30 | 2028-11-01 | 66/67 | 4X/6
D30 | CCOE | Intr. Safe | - | P481879 | II 1G Ex ia IIC T4 Ga -40°C ≤ Ta ≤ + 85°C | IEC 60079-0:2017 IEC 60079-11:2011 | PMV Automation AB | PESO DNV GL | 2021-09-01 | 2025-12-31 | 66 | 4X
New D20I | CCOE | Intr. Safe | - | P571088/1 | Ex ia IIC T4 Ga -40°C ≤ Ta ≤ + 85°C | IEC 60079-0:2017 IEC 60079-11:2011 | PMV Automation AB | PESO DNV GL | 2023-08-29 | 2027-12-31 | 66 | 4X
WSWM | CCOE | Intr. Safe | - | P570618 | Ex ia IIC T4/T5/T6 Ga | IEC 60079-0:2017 IEC 60079-11:2011 | PMV Automation AV | PESO DNV GL Presafe | 2023-08-22 | 2027-12-31 | 66/67 | 4X/6
DSDM | CCOE | Exp. Proof | - | P582424 | Ex db IIC T5 Gb | IEC 60079-0:2011 IEC 60079-1:2014-06 IEC 60079-31:2013 | PMV Automation AV | PESO DNV GL Presafe | 2024-01-09 | 2028-12-31 | 66 | 4X